## Sheet1
LEGEND | ADD | BRANCH |  |  | CHANGE | INVESTIGATE | MOVE
Hot Work Permit Process
The process to get a hot work permit is:
Before Hot Work Commences
Inspect the hot work area and decide on safety precautions to take.
Determine how long to keep a fire watch based on the safety considerations and hazards of the work done.
When an interruption to the fire system is required, establish whether an interruption is necessary. BULLET POINT THE FOLLOWING If necessary, request authorisation from the appropriate authorities and provide evidence of receiving this authorisation.
Complete this permit form to document and assure precautions are taken. BULLET POINT THE FOLLOWING Sign the form.
To begin any hot work, a copy of the signed permit must be submitted to the relevant Manager/Supervisor.
When Starting the Hot Work
Consult the permit for specific precautions.
Ensure the work is completed within the time limit from the permit and that people are on fire watch at all times. BULLET POINT THE FOLLOWING A signed copy of the permit must be kept on site.
Completion of Works
Make someone responsible for maintaining a fire watch throughout the hours noted on their permit. BULLET POINT THE FOLLOWING Once the fire watch is over, sign that the fire watch is over. At the end of the fire watch, perform a final check and sign the permit closure. Submit a copy of the closed permit to the relevant Manager/Supervisor.
Once the fire watch is over, sign that the fire watch is over.
At the end of the fire watch, perform a final check and sign the permit closure.
Send a copy of the closed permit to the relevant Manager/Supervisor.
BREAK
Hot Work Permit
A hot work permit is required for any work involving open flame, producing hot surfaces, or generating sparks or molten material of sufficient energy to ignite combustible, ignitable, or flammable materials.
Hot work includes any process that requires brazing, cutting, grinding, soldering or applying flame-resistant roofing. BULLET POINT THE FOLLOWING This includes radial mechanical action, welding, and post-weld heating using a gas-fired burner or electrical resistance heater.
Permit start date. | Date field
Permit start time. | Time field
Permit expiration date. | Date field
Permit expiration time. | Time field
Work order number (where applicable):
Work Description
Nature of hot work: |  | Cold-work drilling, cutting in hazardous/classified electrical area.
Fusing plastic pipe or other part.
Heat welding single-ply membrane joint using an electric welding iron.
Hot gluing.
Installation of powder-driven fasteners.
Metal-working involving radial-mechanical or torch cutting, grinding, welding, hot riveting, welding joints or heat treating.
Pipe assembly and installation, including radial saw cutting, wheel grinding, and soldering, brazing.
Pipe fabrication producing ERW or helical pipe.
Shrink-wrapping using electrically-heated hot air gun.
Shrink-wrapping using fuel-fired burners (e.g., hand-held weed burners).
Soldering an electrical/electronic component.
Soldering repair or alteration within installed electrical/electronic equipment.
Thawing ice plugs in piping (in place).
Thermal spraying.
Torch applied roofing.
Unrated electrical equipment temporarily used in hazardous/classified electrical area.
Be specific as to the hot work to be performed. BULLET POINT THE FOLLOWING E.g. Remove pipe from decommissioned turbine in plant room 1321 on level 1 of Building A. | Text field
Has a risk assessment been undertaken to show that no other safer means are available to undertake the works? |  | Yes | No
A copy of the risk assessment in an electronic format, may be attached as a file for reference. | Attach file
Does the task involve hot work? |  | Yes | No
Is hot work to be conducted in a designated hot work zone? |  | Yes | No
Is there a fire ban in place in the location where the work is to be undertaken? |  | Yes | No
What is the current fire danger rating if there is no fire ban in place? |  | Low-Moderate
High
Very high
Severe
Extreme
Catastrophic
Is the fire danger rating index "very high, severe, extreme or catastrophic"? |  | Yes | No
BREAK
Do not proceed with hot work unless approval has been authorised by a Manager or Emergency Services.
Approval given? |  | Yes | No
Do not proceed with job, wait for fire danger rating index to reduce below very high.
Name of authorised person: | Text field
Date approval given: | Date field
BREAK
Identification of Workplace
For the hot work permit, information and details regarding the workplace should identify the physical address of the workplace: BULLET POINT THE FOLLOWING The workplace by its organisation or business name, and workplace name if one has been assigned, e.g. St Mary's Catholic Girls School The physical location of the workplace Contact person and telephone number where possible
Organisation or business name: | Text field
ABN: | Numerical field
Workplace name (If known): | Text field
Select the classification that best describes the workplace or the building, part, or area of the workplace: |  | Low Risk Workplace - Insert definition High Risk Workplace - Insert definition Remote Workplace - Insert definition
What is the nature of the business conducted at the workplace? | Text field
Be specific as to the location of the part or area of the workplace where the hot work shall be performed. BULLET POINT THE FOLLOWING E.g., Building A - Ground floor foyer entry area: | Text field
Street address: | Text field
Suburb: | Text field
City/town: | Text field
State/territory/province: | Text field
Country/region: | Text field
Post/zip code: | Numerical field
Telephone: | Numerical field
Facsimile: | Numerical field
BREAK
Contact Person for Workplace
Title: | Mr Mrs Ms Miss Abbott Ableseaman Admiral Air Chief Marshal Air Commodore Air Marshal Air Vice Marshal Aircraftman Aircraftwoman Alderman Ambassador Archbishop Archdeacon Associate Professor Baron Baroness Bishop Bombardier Brigadier Brother Cadet Canon Captain Cardinal Chaplain Chief Petty Officer Colonel Commander Commissioner Commodore Constable Consul Corporal Count Countess Dame Deacon Deaconess Dean Deputy Superintendent Director Dr Duchess Duke Earl Engineer Executor For Father Flight Lieutenant Flight Sergeant Flying Officer General Gonernor Group Captain Gunner Her Royal Highness His Royal Highness Honourable Honourable Judge Honourable Justice Inspector Judge Justice Lady Lance Bombardier Lance Corporal Leading Aircraftman Leading Aircraftwoman Leading Seaman Lieutenant (Army) Lieutenant (Navy) Lieutenant Colonel Lieutenant Commander Lieutenant General Lieutenant Governor Lord Madam Madame Major Major General Manager Master Matron Mayor Mayoress Midshipman Monsignor Most Reverend Mother Nurse Office Cadet Pastor Patriarch Petty Officer Pilot Officer Prior Private Professor Rabbi Rear Admiral Rector Regimental Sergeant Major of the Army Representative For Reverend Reverend Doctor Right Honourable Right Reverend Rt Rev Monsignor Rt Reverend Bishop Seaman Second Lieutenant Senator Senior Constable Sergeant Sir Sister Sister Superior Squadron Leader Staff Cadet Staff Sergeant Station Master Sub Lieutenant Superintendent Swami Very Reverend Senior Vice Admiral Vice Commander Viscount Warrant Officer (Air Force) Warrant Officer (Navy) Warrant Officer Class 1 Warrant Officer Class 2 Wing Commander
Family name: | Text field
Given names: | Text field
Position of employ: | Management list
Mobile: | Numerical field
Email: | Text field
BREAK
Principal Contractor
Has a principal contractor (PC) been appointed to manage the works? |  | Yes (Continue) | No (Continue to PCBU)
Principal Contractors Details
Trading name of principal contractor: | Text field
Principal contractor ABN: | Numerical field
Business identity or structure: |  | Limited by Guarantee Not-for-Profit Organisation Sole Trader Standard Pty Ltd Company Unlisted Public (Ltd) Company Partnership Other
Other - Provide details as to the business identity or structure: | Text field
Ultimate holding company (Where applicable): | Text field
BREAK
Workplace Details
Provide information and details of the workplace where the principal contractor conducts a business or undertaking.
Workplace name (If known): | Text field
Street address: | Text field
Suburb: | Text field
City/town: | Text field
State/territory/province: | Text field
Country/region: | Text field
Post/zip code: | Numerical field
Telephone: | Numerical field
Facsimile: | Numerical field
BREAK
Contact Person
Title: | Mr Mrs Ms Miss Abbott Ableseaman Admiral Air Chief Marshal Air Commodore Air Marshal Air Vice Marshal Aircraftman Aircraftwoman Alderman Ambassador Archbishop Archdeacon Associate Professor Baron Baroness Bishop Bombardier Brigadier Brother Cadet Canon Captain Cardinal Chaplain Chief Petty Officer Colonel Commander Commissioner Commodore Constable Consul Corporal Count Countess Dame Deacon Deaconess Dean Deputy Superintendent Director Dr Duchess Duke Earl Engineer Executor For Father Flight Lieutenant Flight Sergeant Flying Officer General Gonernor Group Captain Gunner Her Royal Highness His Royal Highness Honourable Honourable Judge Honourable Justice Inspector Judge Justice Lady Lance Bombardier Lance Corporal Leading Aircraftman Leading Aircraftwoman Leading Seaman Lieutenant (Army) Lieutenant (Navy) Lieutenant Colonel Lieutenant Commander Lieutenant General Lieutenant Governor Lord Madam Madame Major Major General Manager Master Matron Mayor Mayoress Midshipman Monsignor Most Reverend Mother Nurse Office Cadet Pastor Patriarch Petty Officer Pilot Officer Prior Private Professor Rabbi Rear Admiral Rector Regimental Sergeant Major of the Army Representative For Reverend Reverend Doctor Right Honourable Right Reverend Rt Rev Monsignor Rt Reverend Bishop Seaman Second Lieutenant Senator Senior Constable Sergeant Sir Sister Sister Superior Squadron Leader Staff Cadet Staff Sergeant Station Master Sub Lieutenant Superintendent Swami Very Reverend Senior Vice Admiral Vice Commander Viscount Warrant Officer (Air Force) Warrant Officer (Navy) Warrant Officer Class 1 Warrant Officer Class 2 Wing Commander
Family name: | Text field
Given names: | Text field
Position of employ: | Management list
Mobile: | Numerical field
Email: | Text field
BREAK
Has a contractor (PCBU) been appointed to perform the works? |  | Yes (Continue) | No
Contractors (PCBU) Details
Trading name of contractor (PCBU): | Text field
Contractors (PCBU) ABN: | Text field
Business identity or structure: |  | Limited by Guarantee Not-for-Profit Organisation Sole Trader Standard Pty Ltd Company Unlisted Public (Ltd) Company Partnership Other
Other - Provide details as to the business identity or structure: | Text field
Ultimate holding company (Where applicable): | Text field
BREAK
Workplace Details
Provide information and details of the workplace where the contractor (PCBU) conducts a business or undertaking.
Workplace name (If known): | Text field
Street address: | Text field
Suburb: | Text field
City/town: | Text field
State/territory/province: | Text field
Country/region: | Text field
Post/zip code: | Numerical field
Telephone: | Numerical field
Facsimile: | Numerical field
BREAK
Contact Person for Contractor
Title: | Mr Mrs Ms Miss Abbott Ableseaman Admiral Air Chief Marshal Air Commodore Air Marshal Air Vice Marshal Aircraftman Aircraftwoman Alderman Ambassador Archbishop Archdeacon Associate Professor Baron Baroness Bishop Bombardier Brigadier Brother Cadet Canon Captain Cardinal Chaplain Chief Petty Officer Colonel Commander Commissioner Commodore Constable Consul Corporal Count Countess Dame Deacon Deaconess Dean Deputy Superintendent Director Dr Duchess Duke Earl Engineer Executor For Father Flight Lieutenant Flight Sergeant Flying Officer General Gonernor Group Captain Gunner Her Royal Highness His Royal Highness Honourable Honourable Judge Honourable Justice Inspector Judge Justice Lady Lance Bombardier Lance Corporal Leading Aircraftman Leading Aircraftwoman Leading Seaman Lieutenant (Army) Lieutenant (Navy) Lieutenant Colonel Lieutenant Commander Lieutenant General Lieutenant Governor Lord Madam Madame Major Major General Manager Master Matron Mayor Mayoress Midshipman Monsignor Most Reverend Mother Nurse Office Cadet Pastor Patriarch Petty Officer Pilot Officer Prior Private Professor Rabbi Rear Admiral Rector Regimental Sergeant Major of the Army Representative For Reverend Reverend Doctor Right Honourable Right Reverend Rt Rev Monsignor Rt Reverend Bishop Seaman Second Lieutenant Senator Senior Constable Sergeant Sir Sister Sister Superior Squadron Leader Staff Cadet Staff Sergeant Station Master Sub Lieutenant Superintendent Swami Very Reverend Senior Vice Admiral Vice Commander Viscount Warrant Officer (Air Force) Warrant Officer (Navy) Warrant Officer Class 1 Warrant Officer Class 2 Wing Commander
Family name: | Text field
Given names: | Text field
Position of employ: | Management list.
Mobile: | Numerical field
Email: | Text field
BREAK
Isolations Required
Isolation of essential or emergency services must be approved. BULLET POINT THE FOLLOWING Relevant applications must accompany this permit for approval before work commences. | Multiple choice | Isolation of electrical sources (cables, switchboards).
Isolation of Fire Indicator Panel (FIP).
Isolation of fire suppression systems.
Isolation of fixed equipment.
Isolation of harmful materials (gases, chemicals)
Isolation of plant and machinery.
Isolation of pipelines (water, steam, gas, fuel, etc.).
Isolation of waste.
BREAK
Hot Work Equipment
Select the type of hot work equipment used: |  | Dust/particle generating machinery
Electric arc welding
Electric/spark generating machinery
LPG
Oxy-acetlyene
Other
Provide details of the hot work equipment, e.g. Hobart 500570 Stickmate arc welder. | Text field
Inspect the hot work equipment to certify that it is in proper working order, good repair and a fire-safe condition. |  | Yes | No
Are welders and supporting equipment earthed? |  | Yes | No | N/A
Are exhaust spark guards fitted to plant and machinery? |  | Yes | No | N/A
Are electric leads stored correctly above ground height? |  | Yes | No | N/A
Have fireproof containers been provided to store offcuts and welding slag? |  | Yes | No | N/A
Proper selection and use of PPE for hot work equipment. |  | Yes | No
Additional safety measures when using hot work equipment include: | Text field
Attach a photograph identifying the hot work equipment to be used. |  | Yes | No
| Add another photograph? | Yes | No
ALLOW for 10 photos in total
Next
BREAK
Fire Ban
Is there a fire ban in place? |  | Yes (Continue to declaration) | No
BREAK
What is the current fire danger rating if there is no fire ban in place? |  | Low-Moderate
High
Very high
Severe
Extreme
Catastrophic
Do not proceed with hot work where the fire danger rating is very high to catastrophic unless approval has been authorised.
Name of authorised person: | Text field
Date approval given: | Date field
BREAK
Fire Systems
Is there a fire system in use in the hot work area? |  | Yes (Continue) | No
BREAK
Sprinklers are in use in the hot work area. |  | Yes | No | N/A
Sprinkler heads that the hot work could activate have been covered with a wet rag. |  | Yes | No | N/A
Smoke/fire detectors in the immediate area of the hot work have been temporarily disabled until the hot work is complete. |  | Yes | No | N/A
Smoke/fire detectors in the hot work area have been covered to prevent false alarms. |  | Yes | No | N/A
No fire system interruption is allowed in the hot work area (other than authorised interruption for this permit, e.g. isolate fire detection / suppression equipment). |  | Yes | No | N/A
BREAK
Hot Work Area Preparation
Administrative Controls
Display this hot work permit adjacent to the proposed hot work. |  | Yes | No
A safe work method statement (SWMS), risk assessment or equivalent has been provided. |  | Yes | No
A copy of the document, e.g. SWMS in an electronic format, may be attached as a file for reference. | Attach file
BREAK
Hot Work Access Controls
Building/Area occupants have been protected or isolated from the hot work area. |  | Yes | No | N/A
The hot work area has been isolated, and traffic/pedestrian movement is restricted. |  | Yes | No | N/A
Install barricades, warning signs, and notices to prevent unauthorised entry to the hot work area. |  | Yes | No | N/A
Erect flash screens or welding curtains around the hot work area. |  | Yes | No | N/A
Attach a photograph that identifies the hot work area access controls. |  | Yes | No
| Add another photograph? | Yes | No
ALLOW for 10 photos in total
Next
BREAK
Fire Suppression Controls
Available sprinklers, hose streams, and extinguishers are in service and operable. |  | Yes | No
Fire suppression devices MUST be used in order to complete hot work tasks. BULLET POINT THE FOLLOWING A combination of suppression systems is preferred for hot work. | Multiple choice | Water hose and supply
Appropriate fire extinguisher
Fire blanket
Fire sprinklers
Other
Other | Text field
Fire Extinguishers
Appropriate fire extinguishers are serviceable and readily available. |  | Yes | No
Fire extinguishers are located immediately adjacent to the hot work area and within 15 meters of the work to be carried out. BULLET POINT THE FOLLOWING Building/fixed location fire extinguishers are not to be relied upon. |  | Yes | No
BREAK
Combustible Materials
Combustible materials are removed from the hot work area. |  | Yes | No | N/A
Combustible materials that cannot be removed are protected with approved welding pads, blankets and curtains, fire-resistive tarpaulins or metal shields. |  | Yes | No | N/A
Floors are swept clean and combustible floors are wet with water or covered with damp sand, metal, fire-resistant tarp, or other non-combustible shields. |  | Yes | No | N/A
BREAK
Flammable Gases and Liquids
Sources of flammable gas, liquid, and dust/lint are removed, de-energised, isolated, drained, and purged. |  | Yes | No | N/A
Explosives, compressed gas cylinders or stored fuel have been moved at least 15 metres from the hot work area or protected from hot work. |  | Yes | No | N/A
Flammable liquids, dust lint, and oil deposits within a 15-metre radius of the hot work were removed/cleaned. |  | Yes | No | N/A
BREAK
Hot Work Area
Have surrounding work areas been inspected and confirmed as suitable for these hot works to take place? |  | Yes | No | N/A
All hazardous operations discontinued. |  | Yes | No | N/A
Have other works been excluded from the work area? |  | Yes | No | N/A
Explosive atmosphere in the hot work area eliminated. |  | Yes | No | N/A
Grid-mesh, flooring, or grates must be covered with fireproof blankets, catch boards, and approved covers to catch sparks, slag, or other hot debris. |  | Yes | No | N/A
Drains, cable racks, electrical cables, and other heat/fire-sensitive items within a 15 metre radius must be covered with fireproof blankets, catch boards, and approved covers. |  | Yes | No | N/A
Ventilation and conveying systems that might carry sparks to distant combustibles are shut off. |  | Yes | No | N/A
Openings, piping, voids, and ductworks that may allow ignition sources to pass are shielded or isolated. |  | Yes | No | N/A
Are electrical traces on pipelines isolated? |  | Yes | No | N/A
Isolate air conditioning and seal intakes for the duration of the hot work. |  | Yes | No | N/A
Thermally conductive materials are identified and hot work areas are extended where heat transfer may occur. |  | Yes | No | N/A
Approved welding pads, blankets, and curtains are installed under elevated work and around the work to collect sparks. |  | Yes | No | N/A
One metre clearance to any insulated sandwich panel (otherwise relocate work or provide a thermal barrier). |  | Yes | No | N/A
A four (4) metre cleared space around and above the area where hot work is to be performed. |  | Yes | No | N/A
Proper and adequate ventilation is provided to the hot work area. |  | Yes | No | N/A
Does ventilation or dust extraction need to be used? |  | Yes | No | N/A
If working outdoors, the area has been wetted down before work commences, and water is available and onsite if required. |  | Yes | No | N/A
Is the wind direction and speed satisfactory for the work to be done? |  | Yes | No | N/A
Attach a photograph identifying the hot work area. |  | Yes | No
| Add another photograph? | Yes | No
ALLOW for 10 photos in total
Next
BREAK
Work on Walls, Ceilings, Floors
Does the hot work involve work associated with or in connection with the walls, ceilings, or upper decks/floors? |  | Yes | No
BREAK
All areas and floors below have been examined for combustibles. |  | Yes | No | N/A
Construction materials are non-combustible and without combustible covering or insulation. |  | Yes | No | N/A
Exposed combustible ceiling and wall insulation has been covered or removed. |  | Yes | No | N/A
Areas adjacent to walls being worked on are checked for combustibles, with any combustibles either removed or put under a protective covering. |  | Yes | No | N/A
Cracks or holes in floors, walls and ceilings (including ductwork) are covered or plugged up. |  | Yes | No | N/A
Attach a photograph that identifies the walls, ceilings, or upper decks/floors in the hot work area. |  | Yes | No
| Add another photograph? | Yes | No
ALLOW for 10 photos in total
Next
BREAK
Enclosed or Confined Spaces
Does the hot work involve work associated with or in connection with tanks, containers, ducts, or dust collectors? |  | Yes | No
Is hot work taking place in a confined space? (Confined space permit to be used in conjunction with the current hot work permit) |  | Yes | No
BREAK
Hot Work Area Monitoring
Hot work areas need to be monitored before work is done. BULLET POINT THE FOLLOWING Hot work must not proceed if monitoring identifies a concentration exceeding 5% of the LEL.
Testing for flammable gas or vapour has been conducted within 15m of the hot work and in any pipe, drum, tank, vessel, or piece of equipment adjacent to or involved in the hot work. BULLET POINT THE FOLLOWING The concentration of any flammable gas or flammable vapour is less than 5% of its lower explosion limit (LEL), and hot work is safe to proceed. |  | Yes | No
Gas test equipment Make and Model: | Text field
Serial No. | Text field
Calibration date | Date field
Test results: | Text field
% of LEL | Text field
Date of test | Date field
Testers name | Text field
BREAK
Confined Space Controls
Enclosed equipment or confined space cleaned of all combustibles. |  | Yes | No | N/A
Work does not create hazardous gases or potential for buildup (argon, welding, fumes, particulates, etc.). |  | Yes | No | N/A
Drums, barrels, and tanks have been cleaned and purged of flammables and toxic substances, all tank feeds are closed, and the tank is vented. |  | Yes | No | N/A
Pressurised vessels, piping and equipment are removed from service, isolated and vented. |  | Yes | No | N/A
Locate hot work equipment outside the space where practicable (such as gas cylinders, hoses, etc., unless involving respiratory devices). |  | Yes | No | N/A
If arc-welding activities are to be suspended for significant periods, power sources will need to be de-energised, electrodes removed from holders, and holders placed so that accidental contact or arcing cannot occur. |  | Yes | No | N/A
If gas welding/cutting activities are to be suspended for significant periods, torch and cylinder valves are to be closed, with the torch and hose connections removed from the space and depressurised. |  | Yes | No | N/A
Attach a photograph that identifies the enclosed equipment or confined space. |  | Yes | No
| Add another photograph? | Yes | No
ALLOW for 10 photos in total
Next
BREAK
Ventilation of Space
Contaminants are to be expelled from the space so that they cannot be recirculated and will not harm other workers. |  | Yes | No | N/A
Extraction fan inlet should be located as close as possible to the contamination source. |  | Yes | No | N/A
BREAK
Working at Heights
Is the hot work activity located at an elevated level, which has the potential for a fall hazard? |  | Yes | No
Is hot work taking place while working at height? (Working at height permit to be used in conjunction with the current hot work permit) |  | Yes | No
BREAK
Fall Prevention Controls
Fall prevention control measure/s to be implemented: | Multiple choice | Fall prevention/edge protection
Fall restraint
Fall arrest
Equipment to be used (e.g. EWP and fall arrest): | Text field
Attach a photograph that identifies the fall prevention controls. |  | Yes | No
| Add another photograph? | Yes | No
ALLOW for 10 photos in total
Next
BREAK
Exclusion Zone
Entry and exit points have been identified for the work at height, and alternate entry and exit points have been identified where the work will interfere with normal operations. |  | Yes | No | N/A
The immediate area affected by the work at height has been barricaded, and signs have been installed. |  | Yes | No | N/A
Drop zone established, barricaded, and signs installed. |  | Yes | No | N/A
Attach a photograph identifying the exclusion zone control measures for height work. |  | Yes | No
| Add another photograph? | Yes | No
ALLOW for 10 photos in total
Next
BREAK
Work at Height Equipment
Is work at height equipment being used? (i.e. EWP, fall protection equipment, etc.). |  | Yes | No
BREAK
Work at height access equipment has been inspected and has a current inspection tag (i.e. EWP, man box, etc.). |  | Yes | No | N/A
Work at height safety equipment has been inspected and has a current inspection tag. |  | Yes | No | N/A
Fall protection equipment is maintained in good condition and inspected regularly. |  | Yes | No | N/A
Attach a photograph identifying the work at height equipment. |  | Yes | No
| Add another photograph? | Yes | No
ALLOW for 10 photos in total
Next
BREAK
Anchor Points
Are anchor points for fall protection equipment required when working at height? |  | Yes | No
BREAK
Permanent anchor points are suitable for the work at height activity and have an information plate. They have been inspected and have a current test tag attached. |  | Yes | No | N/A
Are temporary anchor points required? BULLET POINT THE FOLLOWING If YES, a qualified height safety supervisor or suitably qualified engineer is required to conduct a risk assessment. Note: All temporary anchor points must be removed once the work has been completed. |  | Yes | No | N/A
Name of height safety supervisor or engineer. | Text field
Attach a photograph identifying the anchor points. |  | Yes | No
| Add another photograph? | Yes | No
ALLOW for 10 photos in total
Next
BREAK
Emergency and Rescue Procedures
Emergency and rescue procedures are required where "yes" is the response to either of the following.
Is a worker using a safety harness to perform the work activity? |  | Yes | No
Does a risk assessment for the work activity have a residual risk score of high or greater? |  | Yes | No
BREAK
High Risk Work Rescue Plan
Is there a high-risk work rescue plan for the work activity? |  | Yes | No
A copy of the emergency and rescue procedures, e.g. high-risk work rescue plan in an electronic format, may be attached as a file for reference. | Attach file
BREAK
Specific Hot Work Controls
The hot work is to be undertaken on or adjacent to plant and utilities that will require isolation (services, pipes, tanks, pressure vessels, valves). |  | Yes | No
Provide details about any additional controls to be implemented. | Text field
BREAK
The work area will require specific cleaning, stripping, surface preparation, purging, ventilating, or pre-work atmospheric monitoring. |  | Yes | No
Provide details about any additional controls to be implemented. | Text field
BREAK
The nature of the work requires specific respiratory protection. |  | Yes | No
Provide details about any additional controls to be implemented. | Text field
BREAK
The hot work involves arc-welding, which will require specific controls relating to ensuring electrical and radiation safety. |  | Yes | No
Provide details about any additional controls to be implemented. | Text field
BREAK
Hot Work Area Monitoring
Is a fire watch needed? (Including adjoining areas, above and below). |  | Yes | No
BREAK
Fire Watch
A fire watcher must be present during all hot work conducted within 15 metres of flammable or combustible materials and after the work activity.
Maintain a fire watch for the duration of hot work. |  | Yes | No | N/A
Continuous fire watch must be performed during hot work. (mandatory) |  | Yes | No | N/A
Fire watch will be provided during and for 30 minutes after work, including any coffee or lunch breaks. |  | Yes | No | N/A
Separate fire watchers may be needed for other floors, behind walls, or other areas. |  | Yes | No | N/A
BREAK
Fire Watchers
Fire watcher is supplied with suitable fire extinguishers and charged fire hoses and is trained in using this equipment. |  | Yes | No
Fire watcher is trained in raising and sounding the alarm. |  | Yes | No
Fire watcher is in communication with hot works activities. |  | Yes | No
Fire watchers have no responsibilities other than fire watch. |  | Yes | No
Name of fire watcher. | Text field
Add another fire watcher? |  | Yes | No
Text field
ALLOW for 10 fire watcher names in total
Next
BREAK
Final Check
Inspect work areas and any potentially affected surrounding areas for fire, fire damage, or potential for fire. |  | Yes | No | N/A
Area fire and smoke detection systems re-instated where appropriate after work completed. |  | Yes | No | N/A
BREAK
Health and Safety Declaration
If a regulatory body, authority, or person has a workplace health and safety interest in what happens at a workplace, then in some cases, the completion of a hot work permit may be released. BULLET POINT THE FOLLOWING I understand that a person who intentionally provides false or misleading information in making a declaration may be guilty of an offence under work health and safety legislation. I believe that the information and statements I have provided and made in completing and submitting this hot work permit are accurate, factual, and correct in every particular.
As the person requesting this permit, I certify that:
I am competent to coordinate this hot work in accordance with all relevant procedures, risk assessments and details of the permit. |  | Yes | No
I shall undertake to implement all required controls to ensure safe hot work methods. |  | Yes | No
I shall monitor the hot work hazards and control measures throughout the duration and follow up after the hot work is completed. |  | Yes | No
Title: | Mr Mrs Ms Miss Abbott Ableseaman Admiral Air Chief Marshal Air Commodore Air Marshal Air Vice Marshal Aircraftman Aircraftwoman Alderman Ambassador Archbishop Archdeacon Associate Professor Baron Baroness Bishop Bombardier Brigadier Brother Cadet Canon Captain Cardinal Chaplain Chief Petty Officer Colonel Commander Commissioner Commodore Constable Consul Corporal Count Countess Dame Deacon Deaconess Dean Deputy Superintendent Director Dr Duchess Duke Earl Engineer Executor For Father Flight Lieutenant Flight Sergeant Flying Officer General Gonernor Group Captain Gunner Her Royal Highness His Royal Highness Honourable Honourable Judge Honourable Justice Inspector Judge Justice Lady Lance Bombardier Lance Corporal Leading Aircraftman Leading Aircraftwoman Leading Seaman Lieutenant (Army) Lieutenant (Navy) Lieutenant Colonel Lieutenant Commander Lieutenant General Lieutenant Governor Lord Madam Madame Major Major General Manager Master Matron Mayor Mayoress Midshipman Monsignor Most Reverend Mother Nurse Office Cadet Pastor Patriarch Petty Officer Pilot Officer Prior Private Professor Rabbi Rear Admiral Rector Regimental Sergeant Major of the Army Representative For Reverend Reverend Doctor Right Honourable Right Reverend Rt Rev Monsignor Rt Reverend Bishop Seaman Second Lieutenant Senator Senior Constable Sergeant Sir Sister Sister Superior Squadron Leader Staff Cadet Staff Sergeant Station Master Sub Lieutenant Superintendent Swami Very Reverend Senior Vice Admiral Vice Commander Viscount Warrant Officer (Air Force) Warrant Officer (Navy) Warrant Officer Class 1 Warrant Officer Class 2 Wing Commander
Family name:
Given names:
Mobile:
Email:
Signature: | Signature field
Date: | Date field
BREAK
Authorisation of Hot Work BULLET POINT THE FOLLOWING (Manager/Supervisor to complete)
I have reviewed the risk controls and confirm they are appropriate and have been implemented for the hot work to be undertaken. |  | Yes | No
Title: | Mr Mrs Ms Miss Abbott Ableseaman Admiral Air Chief Marshal Air Commodore Air Marshal Air Vice Marshal Aircraftman Aircraftwoman Alderman Ambassador Archbishop Archdeacon Associate Professor Baron Baroness Bishop Bombardier Brigadier Brother Cadet Canon Captain Cardinal Chaplain Chief Petty Officer Colonel Commander Commissioner Commodore Constable Consul Corporal Count Countess Dame Deacon Deaconess Dean Deputy Superintendent Director Dr Duchess Duke Earl Engineer Executor For Father Flight Lieutenant Flight Sergeant Flying Officer General Gonernor Group Captain Gunner Her Royal Highness His Royal Highness Honourable Honourable Judge Honourable Justice Inspector Judge Justice Lady Lance Bombardier Lance Corporal Leading Aircraftman Leading Aircraftwoman Leading Seaman Lieutenant (Army) Lieutenant (Navy) Lieutenant Colonel Lieutenant Commander Lieutenant General Lieutenant Governor Lord Madam Madame Major Major General Manager Master Matron Mayor Mayoress Midshipman Monsignor Most Reverend Mother Nurse Office Cadet Pastor Patriarch Petty Officer Pilot Officer Prior Private Professor Rabbi Rear Admiral Rector Regimental Sergeant Major of the Army Representative For Reverend Reverend Doctor Right Honourable Right Reverend Rt Rev Monsignor Rt Reverend Bishop Seaman Second Lieutenant Senator Senior Constable Sergeant Sir Sister Sister Superior Squadron Leader Staff Cadet Staff Sergeant Station Master Sub Lieutenant Superintendent Swami Very Reverend Senior Vice Admiral Vice Commander Viscount Warrant Officer (Air Force) Warrant Officer (Navy) Warrant Officer Class 1 Warrant Officer Class 2 Wing Commander
Family name:
Given names:
Mobile:
Email:
Signature: | Signature field
Date: | Date field
BREAK
Completion of Hot Work BULLET POINT THE FOLLOWING (Permit recipient to complete)
Hot Work Completed
I confirm that the hot work was completed in accordance with this permit and that all tools and equipment have been removed and the work area has been left in a safe condition. |  | Yes | No
Date hot work completed. | Date field
Time hot work completed. | Time field
Fire Watch
The work area and adjacent areas to which sparks and heat may have spread (i.e. floors above and below and on opposite sides of walls) have been continuously inspected for 1 hour after the work was completed and found fire safe. |  | Yes | No
Fire Detection System Reinstated
Date fire detection system re-instated. | Date field
Time fire detection system re-instated. | Time field
Title: | Mr Mrs Ms Miss Abbott Ableseaman Admiral Air Chief Marshal Air Commodore Air Marshal Air Vice Marshal Aircraftman Aircraftwoman Alderman Ambassador Archbishop Archdeacon Associate Professor Baron Baroness Bishop Bombardier Brigadier Brother Cadet Canon Captain Cardinal Chaplain Chief Petty Officer Colonel Commander Commissioner Commodore Constable Consul Corporal Count Countess Dame Deacon Deaconess Dean Deputy Superintendent Director Dr Duchess Duke Earl Engineer Executor For Father Flight Lieutenant Flight Sergeant Flying Officer General Gonernor Group Captain Gunner Her Royal Highness His Royal Highness Honourable Honourable Judge Honourable Justice Inspector Judge Justice Lady Lance Bombardier Lance Corporal Leading Aircraftman Leading Aircraftwoman Leading Seaman Lieutenant (Army) Lieutenant (Navy) Lieutenant Colonel Lieutenant Commander Lieutenant General Lieutenant Governor Lord Madam Madame Major Major General Manager Master Matron Mayor Mayoress Midshipman Monsignor Most Reverend Mother Nurse Office Cadet Pastor Patriarch Petty Officer Pilot Officer Prior Private Professor Rabbi Rear Admiral Rector Regimental Sergeant Major of the Army Representative For Reverend Reverend Doctor Right Honourable Right Reverend Rt Rev Monsignor Rt Reverend Bishop Seaman Second Lieutenant Senator Senior Constable Sergeant Sir Sister Sister Superior Squadron Leader Staff Cadet Staff Sergeant Station Master Sub Lieutenant Superintendent Swami Very Reverend Senior Vice Admiral Vice Commander Viscount Warrant Officer (Air Force) Warrant Officer (Navy) Warrant Officer Class 1 Warrant Officer Class 2 Wing Commander
Family name:
Given names:
Mobile:
Email:
Signature: | Signature field
Date: | Date field
BREAK